**Section 900.509 Return to Service**

*A new facility constructed after May 21, 1996 that has been removed from service for a period of 2 or more years shall not be placed back into service prior to an inspection of the livestock waste handling facility and receipt of written approval by the Department.* [510 ILCS 77/13(k)]