**Section 350.1060 Quarterly Inventory**

Each licensee or registrant shall conduct a physical inventory at intervals not to exceed 3 months to account for all sources of radiation it has received or possesses. The inventory shall cover all sources of radiation not exempted by Section 350.40 of this Part, including, but not limited to, sealed sources, radiation machines and radiographic exposure devices containing depleted uranium. The records of the inventories shall be maintained for 5 years from the date of the inventory for inspection by the Agency and shall include the manufacturer, model, serial number, radionuclide and number of gigaBequerels or curies or mass for DU in each device, if applicable, location of each source of radiation, date of the inventory and the name of the individual performing the inventory.

(Source: Amended at 28 Ill. Reg. 12598, effective October 1, 2004)