**Section 604.1200 General**

Pumping facilities must be designed to maintain the quality of pumped water.