**Section 611.951 Finished Water Reservoirs**

a) Applicability. A Subpart B system supplier that serves fewer than 10,000 persons is subject to this requirement.

b) Requirements. If a supplier begins construction of a finished water reservoir on or after March 15, 2002, the reservoir must be covered. A finished water reservoir for which a supplier began construction prior to March 15, 2002 is not subject to this requirement.

BOARD NOTE: Derived from 40 CFR 141.510 and 141.511 (2002).

(Source: Added at 27 Ill. Reg. 1182, effective January 10, 2003)