**Section 611.TABLE F Number of Water Quality Parameter Sampling Sites**

|  |  |  |
| --- | --- | --- |
| System Size | Minimum Number of Sites | |
| (Number of Persons Served) | (Standard Monitoring) | (Reduced Monitoring) |
| more than 100,000 | 25 | 10 |
| 10,001 to 100,000 | 10 | 7 |
| 3,301 to 10,000 | 3 | 3 |
| 501 to 3,300 | 2 | 2 |
| 101 to 500 | 1 | 1 |
| 100 or fewer | 1 | 1 |

BOARD NOTE: This Table F derives from 40 CFR 141.87(a)(2)(i) and (e)(1).

(Source: Amended at 47 Ill. Reg. 16486, effective November 2, 2023)