**Section** **722.363 Amendment of Contingency Plan**

The generator must review its contingency plan and immediately amend the plan, if necessary, whenever any of the following occurs:

a) Applicable regulations are revised;

b) The plan fails in an emergency;

c) The generator facility changes − in its design, construction, operation, maintenance, or other circumstances − in a way that materially increases the potential for fires, explosions, or releases of hazardous waste or hazardous waste constituents or which changes the response necessary in an emergency;

d) The list of emergency coordinators changes; or

e) The list of emergency equipment changes.

(Source: Added at 42 Ill. Reg. 22047, effective November 19, 2018)