**Section 811.503 Inspection Activities**

a) The CQA officer shall be present to provide supervision and assume responsibility for performing all inspections of the following activities:

1) Compaction of the subgrade and foundation to design parameters;

2) Installation of the compacted earth liner;

3) Installation of a geomembrane;

4) Installation of slurry trenches or cutoff walls;

5) Installation of the leachate drainage and collection system;

6) Application of final cover;

7) Installation of gas control facilities; and

8) Construction of ponds, ditches, lagoons and berms.

b) If the CQA officer is unable to be present to perform, as required by subsection (a), the CQA officer shall provide, in writing, reasons for his absence, a designation of a person who shall exercise professional judgment in carrying out the duties of a CQA officer as the designated CQA officer-in-absentia, and a signed statement that the CQA officer assumes full personal responsibility for all inspections performed and reports prepared by the designated CQA officer-in-absentia during the absence of the CQA.