**Section 812.308 Leachate Management System**

a) The application shall contain information to show how the applicant will comply with 35 Ill. Adm. Code 811.309, including the following information:

1) Leachate disposal methods, including:

A) The approved NPDES permit or, if the permit is pending, the NPDES permit application;

B) Documentation to demonstrate that the offsite treatment works meets the requirements of 35 Ill. Adm. Code 811.309(e)(1); or

C) Pretreatment authorization, if necessary from the offsite publicly owned treatment works pursuant to 35 Ill. Adm. Code 310.

2) Design of tanks, lagoons, and all other treatment or storage units;

3) A map showing the location of all units, piping and monitoring stations; and

4) A description of the leachate monitoring system, including all parameters to be monitored and the location of the sampling points.

b) The operator may include in the application a request for authorization to recycle leachate, if desired. The request shall be supported by information to demonstrate compliance with 35 Ill. Adm. Code 811.309(f), including:

1) A demonstration that the unit satisfies the criteria of 35 Ill. Adm. Code 811.309(f)(1);

2) Estimates of the expected volume of excess leachate, as defined in 35 Ill. Adm. Code 811.309(f)(3);

3) A plan for the disposal of excess leachate as defined in 35 Ill. Adm. Code 811.309(f)(3);

4) Layout and design of the leachate distribution system; and

5) Pursuant to 35 Ill. Adm. Code 811.309(f)(6), a demonstration that the daily and intermediate cover is permeable, or a plan to remove daily and intermediate cover prior to additional waste disposal.