**Section 817.403 Design Period**

The design period for low risk waste disposal units shall be the estimated operating life plus 20 years.