**Section 840.128 Closure Plan**

a) Within 180 days after January 28, 2011, the owner or operator of Ash Pond D must prepare and submit to the Agency a closure plan for review and approval.

b) The owner or operator of Ash Pond D must maintain the closure plan onsite or at a location specified in the closure plan.