**Section 1600.200 Purpose and Scope**

Subpart B establishes minimum standards and requirements for performing potable water supply well surveys to ensure these wells are accurately identified and located to determine the impacts and potential impacts to these wells from soil, soil gas, or groundwater contamination. The effects of soil contamination on groundwater contamination are evaluated as the soil component of the groundwater ingestion exposure route using modeling as referenced in this Subpart. This Subpart sets forth the procedures persons must use when performing these well surveys and documenting the results in reports to the Agency.

(Source: Amended at 43 Ill. Reg. 11637, effective September 25, 2019)