**Section 174.300 Storage, Handling and Use of Flammable and Combustible Liquids**

With regard to USTs, except as otherwise provided in 41 Ill. Adm. Code 172, 174, 175, 176, 177, 160 and 180, the storage, handling and use of flammable and combustible liquids shall comply with NFPA 30 and 30A, incorporated by reference in 41 Ill. Adm. Code 174.210, as of October 13, 2018.

(Source: Amended at 42 Ill. Reg. 10435, effective October 13, 2018)