**Section 174.340 Greasing Pits**

Newly installed greasing pits in buildings where flammable and combustible liquids are stored, handled, used or dispensed shall comply with NFPA 30 and 30A, incorporated by reference in Section 174.210, on and after September 1, 2010. Greasing pits previously approved by OSFM or in compliance with former 41 Ill. Adm. Code 170 by August 31, 2010 shall be allowed to remain.