**Section 175.APPENDIX B The Type of OSFM Permit Required for Specific Permitted UST Activities**

Pursuant to Section 175.300 and 41 Ill. Adm. Code 174.440 and 174.450, the UST activities listed in this Appendix B will require the kinds of permits listed in this chart. A UST contractor portal for the on-line submission of permit applications and the scheduling of permitted work can be found at https://webapps.sfm.illinois.gov/USTPortal/Home/Login?ReturnUrl=%2fUSTPortal.

|  |  |
| --- | --- |
| **Type of UST Activity** | **Permit Required** |
| Installation of a complete UST with all components, or installation of just the tank | Installation permit and motor fuel dispensing permit pursuant to Section 175.200 |
| Installation of any portion of a UST (except corrosion protection or lining) | Upgrade permit and motor fuel dispensing permit pursuant to Section 175.200 as may be applicable |
| Removal of a UST or UST system, or removal of over 20 feet or 50% of the total piping run or an entire underground pipe run | Removal permit |
| Abandonment-in-place of any tank or piping | Abandonment-in-place permit |
| UST repair to make an existing UST part functional, but not including lining or corrosion protection | Upgrade permit |
| Tank lining or tank lining inspections | Lining or interior lining inspection permit |
| Emergency repairs (excluding corrosion protection) | Upgrade permit (see the procedures of Section 175.710) |
| Repair or install cathodic protection or corrosion protection, including on flex connectors  | Cathodic protection permit |
| Manway installation (no separate upgrade or entry permit for a manway is required where the original lining permit or lining inspection permit includes the installation of a manway)  | Hot work/tank entry permit |
| UST activity requiring the cutting or penetration of the tank shell in any way (no separate hot work permit required where a lining or lining inspection permit is being issued) | Hot work/tank entry permit |
| Installation, upgrade or removal of leak detection systems | Upgrade permit |
| New spill containment (except that replacement of spill containment is a like-for-like replacement that requires only notification to OSFM pursuant to Section 175.300) | Upgrade permit |
| Installation or replacement of a remote fill | Upgrade permit |
| New or replaced overfill prevention equipment (except that replacement of drop tube valves are like-for-like replacements that require only notification to OSFM pursuant to Section 175.300) | Upgrade permit |
| Installation or replacement of dispensers where piping or any other transitional components at or below the shear valve (including the shear valve) are replaced at the same time  | Upgrade permit |
| Installation or replacement of an ATG unit (except that replacement of ATG probes are like-for-like replacements that require only notification to OSFM pursuant to Section 175.300) | Upgrade permit |
| Installation or replacement of a flex connector (only) | Upgrade permit |
| Installation of wristband anodes or spike anodes on an existing flex connector (only) | Cathodic protection permit |
| Installation or replacement of a flex connector and wristband anodes or spike anodes on the flex connector (only) | Cathodic protection permit (shall also be licensed in the retrofitting/installation module) |
| Connecting a new or existing bulk load-out to a new or existing UST at a motor fuel dispensing facility | Upgrade permit (Installation permit if an entire UST is being installed) |
| Construction of a building or structure where loading or unloading or dispensing operations will occur | Motor fuel dispensing permit pursuant to Section 175.200 |
| Site for the mobile fueling of commercial vehicle fleets (pursuant to Section 2(1)(d)(C) of the Gasoline Storage Act [430 ILCS 15/2(1)(d)(C)]) | Mobile fueling site permit (pursuant to 41 Ill. Adm. Code 174.440 and 174.450) |
| Tank vehicle to be used for the mobile fueling of commercial vehicle fleets (pursuant to Section 2(1)(d)(C) of the Gasoline Storage Act [430 ILCS 15/2(1)(d)(C)]) | Mobile fueling vehicle permit (pursuant to 41 Ill. Adm. Code 174.440 and 174.450) |
| Person, company, or other entity proposing to conduct mobile fueling using tank vehicles to be used for the mobile fueling of commercial vehicle fleets (pursuant to Section 2(1)(d)(C) of the Gasoline Storage Act [430 ILCS 15/2(1)(d)(C)]) | Mobile fueling contractor permit (pursuant to 41 Ill. Adm. Code 174.440 and 174.450)  |

(Source: Amended at 48 Ill. Reg. 12838, effective August 7, 2024)