**Section 180.60 No Pouring Into Sewers**

No liquids of Classes I, II and III, or solutions containing such liquids, shall be poured into any sewer or into any drain which connects with a sewer system.