**Section 200.20 Storage and Handling of Liquefied Petroleum Gases at Utility Gas Plants**

Requirements for the storage and handling of liquefied petroleum gases at utility gas plants as published in the 2008 Edition of NFPA 59 (Utility LP-Gas Plant Code) are mandatory.

(Source: Amended at 32 Ill. Reg. 16850, effective October 1, 2008)