**Section 235.50 1.3G Fireworks Display Compliance Standards**

All 1.3G fireworks displays and storage shall be conducted in accordance with NFPA 1123. Storage of display fireworks (1.3G and above) shall comply with the storage requirements set forth by ATF at 27 CFR 555 or by DNR pursuant to Article 3 of the Illinois Explosive Act. Should there be a conflict between the requirements established by ATF and DNR, those requirements that are more specific, more stringent, or impose requirements for which no like requirements are contained in the other agency's requirements shall control.

(Source: Amended at 34 Ill. Reg. 16562, effective October 6, 2010)