**Section 240.1852 Inspection and Maintenance Plan**

a) In addition to Section 240.640, every gas storage operator shall file with the Department a plan for inspection and maintenance of the downhole portion of each underground natural gas storage facility owned or operated in whole or in part in the State of Illinois.

b) All plans must be submitted by December 1 annually for the succeeding year.

(Source: Former Section 240.1852 renumbered to Section 240.1851; new Section 240.1852 added at 43 Ill. Reg. 11524, effective September 24, 2019)