**Section 265.3000 Security Systems**

Birth centers shall be designed for active and passive security systems that shall be placed carefully and shall not interfere with the life and safety features necessary to operate and maintain a healthy and functional environment.