**Section 330.2630 Sewage Disposal**

a) All sewage and liquid wastes shall be discharged into a public sewage system when available. (B)

b) When a public sewage system is not available, sewage and liquid wastes shall be collected, treated, and disposed of in a private sewage disposal system. The design, construction, maintenance, and operation of the system shall comply with the "Private Sewage Disposal Code" (77 Ill. Adm. Code 905). (B)

(Source: Amended at 13 Ill. Reg. 6562, effective April 17, 1989)