**Section 370.2030 Sewage Disposal**

a) All sewage and liquid wastes shall be discharged into a public sewage system when available.

b) When a public sewage system is not available, sewage and liquid wastes shall be collected, treated, and disposed of in a private sewage disposal system. The design, construction, maintenance, and operation of the system shall comply with the "Private Sewage Disposal Licensing Code" (77 Ill. Adm. Code 905), as amended.