**Section 760.950 General - Plumbing**

Plumbing shall be sized, installed, and maintained according to law. There shall be no cross-connection between the potable water supply and any other system containing:

a) Water of unknown or questionable origin, or

b) Contaminating or polluting substances.